## Bid Form
Item No. | Description | Units | Quantity | Unit Price | Total Price
Group A: Point Repair
All bid items, unless otherwise specified, shall be inclusive of furnishing all material and labor for the complete installation of the bid item, inclusive of any necessary removal. Installation shall be completed in accordance with the specifications. The quantities provided are estimated per year for bidding purposes and may vary based on the actual work throughout the duration of the contract. The City of Clearwater (City) is not obligated to purchase any minimum or maximum amount during the life of the contract. Unit costs for all bid items shall not be changed in the event of overruns or underruns.
General
1Mobilization shall be per work order as defined by the City. Each work order may include more than one individual project. The unit price for mobilization shall not exceed $4,000 for non emergency mobilization and $5,000 for emergency mobilization. Emergency and non emergency mobilization are further defined in Section IV of the Contract Documents.
1 | Emergency Mobilization/Demobilization & General Conditions1 (max $5,000) | EA | 30 |  | 0
2 | Non-Emergency Mobilization/Demobilization & General Conditions1 (max $4,000) | EA | 75 |  | 0
Maintenance of Traffic
3a | Flagman | HR | 200 |  | 0
3b | Multilane (FDOT Index No. 613) | EA/DAY | 30 |  | 0
3c | Multilane (FDOT Index No. 614) | EA/DAY | 30 |  | 0
3d | Multilane (FDOT Index No. 615) | EA/DAY | 20 |  | 0
3e | Multilane (FDOT Index No. 616) | EA/DAY | 20 |  | 0
3f | Multilane (FDOT Index No. 617) | EA/DAY | 20 |  | 0
3g | Arrow Board - 5' Minimum Horizontal Size | EA/DAY | 30 |  | 0
3h | Variable Message Board | EA/DAY | 30 |  | 0
3i | Concrete Barrier (FDOT Index No. 415) | EA/DAY | 60 |  | 0
3j | Low Profile Barrier (FDOT Index No. 412) | EA/DAY | 60 |  | 0
3k | Sign in Work Zone | EA/DAY | 100 |  | 0
3l | FDOT Cone | EA/DAY | 100 |  | 0
3m | FDOT Channelizing Drum | EA/DAY | 100 |  | 0
3n | Barricade, Type III with Warning Light | EA/DAY | 100 |  | 0
3o | Barricade, Type I or II with Warning Light | EA/DAY | 100 |  | 0
Labor and Equipment
Labor hour
4a | Foreman regular time | HOUR | 1500 |  | 0
4b | Foreman overtime | HOUR | 200 |  | 0
4c | Operator regular time | HOUR | 2000 |  | 0
4d | Operator overtime | HOUR | 200 |  | 0
4e | Truck Driver regular time | HOUR | 1000 |  | 0
4f | Truck Driver overtime | HOUR | 50 |  | 0
4g | Pipe Layer regular time | HOUR | 2000 |  | 0
4h | Pipe Layer overtime | HOUR | 200 |  | 0
4i | Laborer regular time | HOUR | 2000 |  | 0
4j | Laborer overtime | HOUR | 2000 |  | 0
Equipment
5a | Foreman's pickup truck with hand tools | HOUR | 1500 |  | 0
5b | Job truck with tools | HOUR | 1500 |  | 0
5c | Tractor & Trailer (Transport) | HOUR | 200 |  | 0
5d | Track Hoe (to 100 HP) | HOUR | 1100 |  | 0
5e | Track Hoe (101 HP to 170 HP) | HOUR | 500 |  | 0
5f | Track Hoe (171 HP and up) | HOUR | 750 |  | 0
5g | Rubber Tired Backhoe | HOUR | 25 |  | 0
5h | Wheel Loader (to 150 HP) | HOUR | 2000 |  | 0
5i | Wheel Loader (151 HP and up) | HOUR | 250 |  | 0
5j | Track Type Tractors (to 100 HP) | HOUR | 150 |  | 0
5k | Track Type Tractors (101 HP and up) | HOUR | 25 |  | 0
5l | Dump Truck (Tandem Axle) | HOUR | 750 |  | 0
5m | Plate Tamp | HOUR | 250 |  | 0
5n | 3” Trash Pump | HOUR | 250 |  | 0
5o | 4” Double Diaphragm Pump | HOUR | 2000 |  | 0
5p | Air Compressor (125 CFM min.) | HOUR | 100 |  | 0
5q | 4” Jet Pump | DAY | 25 |  | 0
5r | Emergency Hauling up to 2500 gallons | HOUR | 25 |  | 0
5s | Emergency Hauling over 2500 gallons | HOUR | 25 |  | 0
5t | Street Sweeper | HOUR | 200 |  | 0
5u | Mobile Light Tower | DAY | 40 |  | 0
Landscaping/Restoration
6a | Sodding | SF | 75000 |  | 0
6b | Brush Removal | TON | 40 |  | 0
6c | Tree protection | EA | 15 |  | 0
6d | Tree Removal (<6" Trunk Diameter) | EA | 5 |  | 0
6e | Tree Removal (6"-12" Trunk Diameter) | EA | 3 |  | 0
6f | Tree Removal (13"-18" Trunk Diameter) | EA | 3 |  | 0
6g | Tree Removal (>18" Trunk Diameter) | EA | 3 |  | 0
Materials
7a | Remove and Replace Concrete Sidewalk, (4" Min thickness) | SF | 500 |  | 0
7b | Remove and Replace Concrete Sidewalk, (6" Min thickness) | SF | 500 |  | 0
7c | Remove and Replace Concrete Driveway | SY | 250 |  | 0
7d | Full Width Milling (Up to 2") | SY | 7500 |  | 0
7e | Full Width Milling (2" to 4") | SY | 7500 |  | 0
7f | SP 12.5 Asphalt Concrete Resurfacing | TN | 500 |  | 0
7g | SP 9.5 Asphalt Concrete Resurfacing | TN | 500 |  | 0
7h | Pavement Marking - Crosswalks (Lane) | LF | 500 |  | 0
7i | Pavement Marking - Stop Bars (Lane) | EA | 250 |  | 0
7j | Pavement Marking - School Crossing/RR | EA | 50 |  | 0
7k | Pavement Marking - Turn, Straight, Combo Arrows | EA | 50 |  | 0
7l | Pavement Marking - Dashed (White, Yellow or Double Yellow) | LF | 500 |  | 0
7m | Pavement Marking - Solid White | LF | 250 |  | 0
7n | Pavement Marking - Solid Double Yellow | LF | 250 |  | 0
7o | Pavement Marking - Solid Yellow | LF | 250 |  | 0
7p | Preparation, Installation and Maintenance of Project Signs | EA | 25 |  | 0
7q | Temporary Pavement Marking - Turn, Straight, Combo Arrows | EA | 250 |  | 0
7r | Temporary Pavement Marking - Dashed (White, Yellow or Double Yellow) | LF | 250 |  | 0
7s | Temporary Pavement Marking - Solid White | LF | 250 |  | 0
7t | Temporary Pavement Marking - Solid Double Yellow | LF | 250 |  | 0
7u | Temporary Pavement Marking - Solid Yellow | LF | 250 |  | 0
7v | Remove and replace concrete curb and gutter (FDOT Type A) | LF | 750 |  | 0
7w | Remove and replace concrete curb and gutter (FDOT Type E) | LF | 750 |  | 0
7x | Remove and replace concrete curb and gutter (FDOT Type F) | LF | 750 |  | 0
7y | 3000 psi Concrete | CY | 100 |  | 0
7z | Off Site Selected Fill | CY | 1500 |  | 0
7aa | Limerock Base Material | TON | 750 |  | 0
7bb | Crushed Concrete Base Material | TON | 750 |  | 0
7cc | Stabilized Subgrade | TON | 750 |  | 0
7dd | # 57 Washed Stone | TON | 750 |  | 0
7ee | Removal of unsuitable soil | TON | 300 |  | 0
7ff | Rip Rap | TON | 300 |  | 0
7gg | Flowable Fill | CY | 100 |  | 0
7hh | Brick Pavers | SY | 100 |  | 0
7ii | Brick Paver Level Sand | CY | 10 |  | 0
Well Point Dewatering
8 | Well Point Dewatering | LF/DAY | 2000 |  | 0
Grout Fill and Abandon Main
9a | 2"-6" | LF | 7500 |  | 0
9b | 8"-12" | LF | 7500 |  | 0
9c | 16"-24" | LF | 5000 |  | 0
9d | >30" | LF | 5000 |  | 0
Remove Abandoned Water Main
10a | 2"-6" | LF | 5000 |  | 0
10b | 8"-12" | LF | 5000 |  | 0
10c | 16"-24" | LF | 2000 |  | 0
10d | >30" | LF | 500 |  | 0
Water and Reclaimed Water Pipe (Open Cut)
PVC (Inclusive all Labor, Material, and Associated Restraints)
11a | 4” diameter (0' to 5') | LF | 1000 |  | 0
11b | 4" diameter (5.1' to 10') | LF | 500 |  | 0
11c | 4" diameter (10.1' to 15') | LF | 100 |  | 0
11d | 4" diameter (15.1' to 20') | LF | 50 |  | 0
11e | 6” diameter (0' to 5') | LF | 1000 |  | 0
11f | 6" diameter (5.1' to 10') | LF | 500 |  | 0
11g | 6" diameter (10.1' to 15') | LF | 100 |  | 0
11h | 6" diameter (15.1' to 20') | LF | 50 |  | 0
11i | 8” diameter (0' to 5') | LF | 1000 |  | 0
11j | 8" diameter (5.1' to 10') | LF | 500 |  | 0
11k | 8" diameter (10.1' to 15') | LF | 100 |  | 0
11m | 8" diameter (15.1' to 20') | LF | 50 |  | 0
DUCTILE IRON (Inclusive all Labor, Material, and Associated Restraints)
12a | 4” diameter (0' to 5') | LF | 1000 |  | 0
12b | 4" diameter (5.1' to 10') | LF | 500 |  | 0
12c | 4" diameter (10.1' to 15') | LF | 100 |  | 0
12d | 4" diameter (15.1' to 20') | LF | 50 |  | 0
12e | 6” diameter (0' to 5') | LF | 1000 |  | 0
12f | 6" diameter (5.1' to 10') | LF | 500 |  | 0
12g | 6" diameter (10.1' to 15') | LF | 100 |  | 0
12h | 6" diameter (15.1' to 20') | LF | 50 |  | 0
12i | 8” diameter (0' to 5') | LF | 1000 |  | 0
12j | 8" diameter (5.1' to 10') | LF | 500 |  | 0
12k | 8" diameter (10.1' to 15') | LF | 100 |  | 0
12l | 8" diameter (15.1' to 20') | LF | 50 |  | 0
12m | 10” diameter (0' to 5') | LF | 100 |  | 0
12n | 10" diameter (5.1' to 10') | LF | 100 |  | 0
12o | 10" diameter (10.1' to 15') | LF | 50 |  | 0
12p | 10" diameter (15.1' to 20') | LF | 30 |  | 0
12q | 12” diameter (0' to 5') | LF | 1000 |  | 0
12r | 12" diameter (5.1' to 10') | LF | 500 |  | 0
12s | 12" diameter (10.1' to 15') | LF | 100 |  | 0
12t | 12" diameter (15.1' to 20') | LF | 50 |  | 0
12u | 14” diameter (0' to 5') | LF | 100 |  | 0
12v | 14" diameter (5.1' to 10') | LF | 50 |  | 0
12w | 14" diameter (10.1' to 15') | LF | 20 |  | 0
12x | 14" diameter (15.1' to 20') | LF | 20 |  | 0
12y | 16” diameter (0' to 5') | LF | 500 |  | 0
12z | 16" diameter (5.1' to 10') | LF | 200 |  | 0
12aa | 16" diameter (10.1' to 15') | LF | 50 |  | 0
12bb | 16" diameter (15.1' to 20') | LF | 30 |  | 0
12cc | 18” diameter (0' to 5') | LF | 50 |  | 0
12dd | 18" diameter (5.1' to 10') | LF | 50 |  | 0
12ee | 18" diameter (10.1' to 15') | LF | 20 |  | 0
12ff | 18" diameter (15.1' to 20') | LF | 20 |  | 0
12gg | 20” diameter (0' to 5') | LF | 500 |  | 0
12hh | 20" diameter (5.1' to 10') | LF | 200 |  | 0
12ii | 20" diameter (10.1' to 15') | LF | 50 |  | 0
12jj | 20" diameter (15.1' to 20') | LF | 30 |  | 0
12kk | 24” diameter (0' to 5') | LF | 500 |  | 0
12ll | 24" diameter (5.1' to 10') | LF | 200 |  | 0
12mm | 24" diameter (10.1' to 15') | LF | 50 |  | 0
12nn | 24" diameter (15.1' to 20') | LF | 30 |  | 0
12oo | 30” diameter (0' to 5') | LF | 100 |  | 0
12pp | 30" diameter (5.1' to 10') | LF | 50 |  | 0
12qq | 30" diameter (10.1' to 15') | LF | 20 |  | 0
12rr | 30" diameter (15.1' to 20') | LF | 20 |  | 0
12ss | 36” diameter (0' to 5') | LF | 100 |  | 0
12tt | 36" diameter (5.1' to 10') | LF | 50 |  | 0
12uu | 36" diameter (10.1' to 15') | LF | 20 |  | 0
12vv | 36" diameter (15.1' to 20') | LF | 20 |  | 0
HDPE (Inclusive all Labor, Material, and Associated Restraints)
13a | 4” diameter (0' to 5') | LF | 1000 |  | 0
13b | 4" diameter (5.1' to 10') | LF | 500 |  | 0
13c | 4" diameter (10.1' to 15') | LF | 100 |  | 0
13d | 4" diameter (15.1' to 20') | LF | 50 |  | 0
13e | 6” diameter (0' to 5') | LF | 1000 |  | 0
13f | 6" diameter (5.1' to 10') | LF | 500 |  | 0
13g | 6" diameter (10.1' to 15') | LF | 100 |  | 0
13h | 6" diameter (15.1' to 20') | LF | 50 |  | 0
13i | 8” diameter (0' to 5') | LF | 1000 |  | 0
13j | 8" diameter (5.1' to 10') | LF | 500 |  | 0
13k | 8" diameter (10.1' to 15') | LF | 100 |  | 0
13l | 8" diameter (15.1' to 20') | LF | 50 |  | 0
13m | 10” diameter (0' to 5') | LF | 200 |  | 0
13n | 10" diameter (5.1' to 10') | LF | 200 |  | 0
13o | 10" diameter (10.1' to 15') | LF | 50 |  | 0
13p | 10" diameter (15.1' to 20') | LF | 30 |  | 0
13q | 12” diameter (0' to 5') | LF | 200 |  | 0
13r | 12" diameter (5.1' to 10') | LF | 200 |  | 0
13s | 12" diameter (10.1' to 15') | LF | 100 |  | 0
13t | 12" diameter (15.1' to 20') | LF | 50 |  | 0
Ductile Iron Fittings (Tees, Crosses, 90, 45, 22.5, 11.25, Sleeve, and inclusive all necessary restraints)
14a | 4” diameter | TON | 2 |  | 0
14b | 6" diameter | TON | 2 |  | 0
14c | 8" diameter | TON | 2 |  | 0
14d | 10" diameter | TON | 2 |  | 0
14e | 12" diameter | TON | 2 |  | 0
14f | 14" diameter | TON | 2 |  | 0
14g | 16" diameter | TON | 2 |  | 0
14h | 18" diameter | TON | 2 |  | 0
14i | 20" diameter | TON | 2 |  | 0
14j | 24" diameter | TON | 2 |  | 0
14k | 30" diameter | TON | 2 |  | 0
14l | 36" diameter | TON | 2 |  | 0
Appurtenances
Gate Valves with 3-Piece Valve Box
15a | 4” | EA | 100 |  | 0
15b | 6” | EA | 100 |  | 0
15c | 8” | EA | 50 |  | 0
15d | 10” | EA | 10 |  | 0
15e | 12” | EA | 30 |  | 0
15f | 14” | EA | 10 |  | 0
15g | 18” | EA | 10 |  | 0
15h | 20” | EA | 5 |  | 0
15i | 24" | EA | 5 |  | 0
15j | 30" | EA | 5 |  | 0
Service Saddles Replacement
16a | 3/4" | EA | 300 |  | 0
16b | 1" | EA | 300 |  | 0
16c | 1.5" | EA | 300 |  | 0
16d | 2" | EA | 100 |  | 0
16e | 4” | EA | 10 |  | 0
16f | 6” | EA | 10 |  | 0
16g | 8” | EA | 10 |  | 0
16h | 10” | EA | 10 |  | 0
16i | 12” | EA | 10 |  | 0
16j | 14” | EA | 10 |  | 0
16k | 18” | EA | 10 |  | 0
16l | 20” | EA | 10 |  | 0
Tapping Sleeves and Tapping Valves
17a | 1" | EA | 25 |  | 0
17b | 2" | EA | 40 |  | 0
17c | 4" | EA | 25 |  | 0
17d | 6” | EA | 25 |  | 0
17e | 8” | EA | 25 |  | 0
17f | 10” | EA | 10 |  | 0
17g | 12” | EA | 10 |  | 0
17h | 14” | EA | 3 |  | 0
17i | 18” | EA | 3 |  | 0
17j | 20” | EA | 3 |  | 0
17k | 24" | EA | 3 |  | 0
17l | 30" | EA | 3 |  | 0
17m | 36" | EA | 3 |  | 0
Repair Clamp
18a | 4” | EA | 15 |  | 0
18b | 6” | EA | 15 |  | 0
18c | 8” | EA | 15 |  | 0
18d | 10” | EA | 15 |  | 0
18e | 12” | EA | 15 |  | 0
18f | 14” | EA | 5 |  | 0
18g | 18” | EA | 5 |  | 0
18h | 20” | EA | 5 |  | 0
18i | 24" | EA | 5 |  | 0
18j | 30" | EA | 5 |  | 0
18k | 36" | EA | 5 |  | 0
Directional Drill
19a | Furnish and Install 4" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 |  | 0
19b | Furnish and Install 6" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 |  | 0
19c | Furnish and Install 8" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 |  | 0
19d | Furnish and Install 10" HDPE by directional drill, DR 11 with Transitional Ends | LF | 500 |  | 0
19e | Furnish and Install 12" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 |  | 0
19f | Furnish and Install 16" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 |  | 0
19g | Furnish and Install 20" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 |  | 0
19h | Furnish and Install 24" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 |  | 0
19i | Furnish and Install 30" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 |  | 0
19j | Furnish and Install 36" HDPE by directional drill, DR 11 with Transitional Ends | LF | 1000 |  | 0
19k | Furnish and Install 4" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 |  | 0
19l | Furnish and Install 6" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 |  | 0
19m | Furnish and Install 8" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 |  | 0
19n | Furnish and Install 10" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 500 |  | 0
19o | Furnish and Install 12" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 |  | 0
19p | Furnish and Install 16" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 |  | 0
19q | Furnish and Install 20" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 |  | 0
19r | Furnish and Install 24" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 |  | 0
19s | Furnish and Install 30" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 |  | 0
19t | Furnish and Install 36" Restrained PVC by directional drill, DR 18 with Transitional Ends | LF | 1000 |  | 0
Jack and Bore
20a | Furnish and Install 4" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 500 |  | 0
20b | Furnish and Install 6" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 500 |  | 0
20c | Furnish and Install 12" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 750 |  | 0
20d | Furnish and Install 14" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 750 |  | 0
20e | Furnish and Install 16" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 750 |  | 0
20f | Furnish and Install 20" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 500 |  | 0
20g | Furnish and Install 24" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 300 |  | 0
20h | Furnish and Install 30" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 300 |  | 0
20i | Furnish and Install 36" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 300 |  | 0
20j | Furnish and Install 42" OD Steel Casing Pipe by Jack and Bore per city standard detail | LF | 300 |  | 0
Pipe Bursting
21a | Furnish and Install 4" HDPE Prechlorinated Pipe Bursting, DR 11 | LF | 1000 |  | 0
21b | Furnish and Install 6" HDPE Prechlorinated Pipe Bursting, DR 11 | LF | 1000 |  | 0
21c | Furnish and Install 8" HDPE Prechlorinated Pipe Bursting, DR 11 | LF | 1000 |  | 0
21d | Furnish and Install 10" HDPE Prechlorinated Pipe Bursting, DR 11 | LF | 500 |  | 0
21e | Furnish and Install 12" HDPE Prechlorinated Pipe Bursting, DR 11 | LF | 1000 |  | 0
21f | Furnish and Install 16" HDPE Prechlorinated Pipe Bursting, DR 11 | LF | 1000 |  | 0
21g | Furnish and Install 20" HDPE Prechlorinated Pipe Bursting, DR 11 | LF | 1000 |  | 0
21h | Furnish and Install 24" HDPE Prechlorinated Pipe Bursting, DR 11 | LF | 500 |  | 0
21i | Furnish and Install 30" HDPE Prechlorinated Pipe Bursting, DR 11 | LF | 500 |  | 0
Restrained Joint
22a | 2" Restrained Joint | EA | 50 |  | 0
22b | 4" Restrained Joint | EA | 100 |  | 0
22c | 6" Restrained Joint | EA | 100 |  | 0
22d | 8" Restrained Joint | EA | 100 |  | 0
22e | 10" Restrained Joint | EA | 100 |  | 0
22f | 12" Restrained Joint | EA | 100 |  | 0
22g | 16" Restrained Joint | EA | 50 |  | 0
22h | 18" Restrained Joint | EA | 50 |  | 0
22i | 20" Restrained Joint | EA | 20 |  | 0
22j | 24" Restrained Joint | EA | 20 |  | 0
22k | 30" Restrained Joint | EA | 20 |  | 0
Fire Hydrant Assembly
23a | Fire Hydrant Assembly With Valve (5-1/4") | EA | 40 |  | 0
23b | Fire Hydrant Assembly Without Valve (5-1/4") | EA | 20 |  | 0
23c | Remove Fire Hydrant | EA | 10 |  | 0
Service Connections
24a | Furnish and Install 3/4" Service Connection (corp to meter including 3 piece) and 2" PVC Casing | EA | 150 |  | 0
24b | Furnish and Install 1" Service Connection (corp to meter including 3 piece) and 2" PVC Casing | EA | 500 |  | 0
24c | Furnish and Install 1-1/2" Service Connection (including brass ball valve) and 3" PVC Casing | EA | 75 |  | 0
24d | Furnish and Install 2" Service Connection (including brass ball valve) and 3" PVC Casing | EA | 50 |  | 0
Other Items
25a | Bollard | EA | 30 |  | 0
25b | ARV Assembly (Inclusive of fittings and enclosure) | EA | 10 |  | 0
25c | ARV Only | EA | 10 |  | 0
25d | Pipe Exterior Coating | SF | 100 |  | 0
Water Main Disinfection
26a | Cleaning and Disinfection of 2" to 6" Potable Water Main | LF | 7000 |  | 0
26b | Cleaning and Disinfection of 8" to 12" Potable Water Main | LF | 5000 |  | 0
26c | Cleaning and Disinfection of 14" to 20" Potable Water Main | LF | 5000 |  | 0
26d | Cleaning and Disinfection of 24" to 36" Potable Water Main | LF | 5000 |  | 0
26e | Cleaning and Disinfection of 2" to 6" Reclaimed Water Main | LF | 5000 |  | 0
26f | Cleaning and Disinfection of 8" to 12" Reclaimed Water Main | LF | 5000 |  | 0
26g | Cleaning and Disinfection of 14" to 20" Reclaimed Water Main | LF | 2000 |  | 0
26h | Cleaning and Disinfection of 24" to 36" Reclaimed Water Main | LF | 2000 |  | 0
Sanitary Sewer Pipe Repair (Incidental to Water or Reclaimed Water Repair)
PVC Force Main (Inclusive all Labor, Material, and Associated Restraints)
27a | 4" diameter | LF | 500 |  | 0
27b | 6" diameter | LF | 500 |  | 0
27c | 8" diameter | LF | 500 |  | 0
Ductile Iron Force Main (Inclusive all Labor, Material, and Associated Restraints)
28a | 8" diameter | LF | 500 |  | 0
28b | 10" diameter | LF | 500 |  | 0
28c | 12" diameter | LF | 500 |  | 0
28d | 14" diameter | LF | 50 |  | 0
28e | 16" diameter | LF | 50 |  | 0
28f | 18" diameter | LF | 50 |  | 0
28g | 20" diameter | LF | 50 |  | 0
28h | 24" diameter | LF | 50 |  | 0
HDPE Force Main (Inclusive all Labor, Material, and Associated Restraints)
29a | 4" diameter | LF | 500 |  | 0
29b | 6" diameter | LF | 500 |  | 0
29c | 8" diameter | LF | 500 |  | 0
29d | 10" diameter | LF | 100 |  | 0
29e | 12" diameter | LF | 100 |  | 0
Ductile Iron Fittings (Tees, Crosses, 90, 45, 22.5, 11.25, Sleeve, and inclusive all necessary restraints)
30a | 4” diameter | TON | 2 |  | 0
30b | 6" diameter | TON | 2 |  | 0
30c | 8" diameter | TON | 2 |  | 0
30d | 10" diameter | TON | 2 |  | 0
30e | 12" diameter | TON | 2 |  | 0
30f | 14" diameter | TON | 2 |  | 0
30g | 16" diameter | TON | 2 |  | 0
30h | 18" diameter | TON | 2 |  | 0
30i | 20" diameter | TON | 2 |  | 0
30j | 24" diameter | TON | 2 |  | 0
30k | 30" diameter | TON | 2 |  | 0
30l | 36" diameter | TON | 2 |  | 0
PVC Gravity Main (Inclusive all Labor, Material, and Associated Restraints)
31a | 6" diameter | LF | 500 |  | 0
31b | 8" diameter | LF | 500 |  | 0
31c | 10" diameter | LF | 500 |  | 0
31d | 12" diameter | LF | 500 |  | 0
31e | 14" diameter | LF | 100 |  | 0
31f | 16" diameter | LF | 100 |  | 0
31g | 18" diameter | LF | 100 |  | 0
31h | 20" diameter | LF | 100 |  | 0
31i | 24" diameter | LF | 100 |  | 0
Wastewater Manhole
32a | Manhole - 4 feet Diameter | VF | 200 |  | 0
32b | Manhole - 5 feet Diameter | VF | 100 |  | 0
33c | Manhole - 6 feet Diameter | VF | 100 |  | 0
33d | Adjust Existing Manhole Frame and Cover (paved areas) | EA | 10 |  | 0
33e | Adjust Existing Manhole Frame and Cover (unpaved areas) | EA | 10 |  | 0
33f | Replace Existing Manhole Frame and Cover (paved areas) | EA | 10 |  | 0
33g | Replace Existing Manhole Frame and Cover (unpaved areas) | EA | 10 |  | 0
Wastewater Service Lateral
34a | Install/Repair/Replace 4" Sanitary Sewer Lateral | EA | 10 |  | 0
34b | Install/Repair/Replace 6" Sanitary Sewer Lateral | EA | 10 |  | 0
| Subtotal |  |  |  | 0
35 | Miscellaneous Contingency 10% of Bid |  | 1 | 0 | 0
| Group A Total |  |  |  | 0
Group B: Asphalt Milling and Resurfacing
Item No. | Description | Units | Quantity | Unit Price | Total Price
1Mobilization shall be per work order as defined by the City. Each work order may include more than one individual project. The unit price for mobilization shall not exceed $5,000.
1a | Mobilization/ Demobilization including General Conditions and Traffic Control | LS | 50 |  | 0
1b | Full Width Milling Only (Up to 2") | SY | 20000 |  | 0
1c | Full Width Milling Only (2" to 4") | SY | 20000 |  | 0
1d | Asphalt Patch | TON | 50 |  | 0
1e | Complete Removal and Replacement of Asphalt Pavement | SY | 10000 |  | 0
1f | Remove and Replace Limerock Base Only | TON | 50 |  | 0
1g | Remove and Replace Crushed Concrete Base Only | TON | 50 |  | 0
Group B Total |  |  |  |  | 0
Group C: Concrete Aprons, Sidewalks, and Curbs
Item No. | Description | Units | Quantity | Unit Price | Total Price
1Mobilization shall be per work order as defined by the City. Each work order may include more than one individual project. The unit price for mobilization shall not exceed $3,000.
1a | Mobilization/ Demobilization including General Conditions and Traffic Control | LS | 50 |  | 0
1b | Removal and Replacement of Concrete Apron (Per City Specification) | SY | 20000 |  | 0
1c | Removal and Replacement of Concrete Sidewalk (Per City Specification) | SY | 20000 |  | 0
1d | Removal and Replacement of Concrete Curb (All Curb Types) | LF | 10000 |  | 0
1e | Remove and Replace Limerock Base Only | TON | 50 |  | 0
1f | Remove and Replace Crushed Concrete Base Only | TON | 50 |  | 0
Group C Total |  |  |  |  | 0