WRF-CA-2: FOG Removal R&R

| Project Duration | 2026 – 2030 (5 Years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: Odor Control Pump (PMP-080), FOG Pump 1 (PMP-077), Red Pump 1 and 2 (PMP-078, PMP-079), East Tank B (TNK-017) |  |
| Existing Asset Information | - PMP-077: 15 HP ¦ 1765 RPM - PMP-078: 150 GPM - PMP-079: 150 GPM - PMP-080: 16 MGD - TNK-017/NEWRF-FOGRS-ST2: 19,800 gallons ¦ Steel |  |
| Project Costs | Total Construction Costs | $5,883,400 |
|  | Scope Contingency Cost (60%) | $3,530,000 |
|  | Engineering Costs (20%) | $1,882,700 |
|  | Total Project Cost | $11,296,100 |
| Record Drawing References | - NORTHEAST WRF - DIGESTER GAS TO ELECTRICITY COGENERATION FACILITY, 2012, FIM04 |  |