WRF-CA-3: In-Plant Pump Station R&R

| Project Duration | 2026 – 2030 (5 Years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: Pump Station #2 Sub Pump 1 and 2 (PMP-029, PMP-030), Pump Station #3 Pump 1, 2, and 3 Motors (MTR-059, MTR-095, MTR-096), Pump Station #3 Pumps 1, 2, and 3 (PMP-061, PMP-062, PMP-063) |  |
| Existing Asset Information | - PMP-029/NEWRF-IPLS-IPLS2-SP2: 20 HP ¦ 900 GPM - PMP-030/NEWRF-IPLS-IPLS2-SP1: 20 HP ¦ 900 GPM - PMP-061/NEWRF-IPLS-IPLS1-SP1: 40 HP ¦ 1775 RPM ¦ 460 V ¦ 46 A ¦ 300 GPM - PMP-062/NEWRF-IPLS-IPLS1-SP2: 40 HP ¦ 1775 RPM ¦ 460 V ¦ 46 A ¦ 300 GPM - PMP-063/NEWRF-IPLS-IPLS1-SP3: 40 HP ¦ 1775 RPM ¦ 460 V ¦ 46 A ¦ 300 GPM - MTR-059/NEWRF-IPLS-IPPS3-SP1: 40 HP ¦ 1775 RPM ¦ 460 V ¦ 92 A - MTR-095/NEWRF-IPLS-IPPS3-SP2: 40 HP ¦ 1775 RPM ¦ 460 V ¦ 96 A - MTR-096: 40 HP ¦ 1775 RPM ¦ 460 V ¦ 92 A |  |
| Project Costs | Total Construction Costs | $2,221,500 |
|  | Scope Contingency Cost (60%) | $1,332,900 |
|  | Engineering Costs (20%) | $710,900 |
|  | Total Project Cost | $4,265,300 |
| Record Drawing References | - NORTHEAST ADVANCED POLLUTION CONTROL FACILITY CLEARWATER, FLORIDA, 1992, 92016 |  |

G