WRF-CA-4: Digestion R&R

| Project Duration | 2026 – 2030 (5 Years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: Boiler (BOIL-001), Combustion Fan (FAN-001), West and East Heat Exchange Pumps (PMP-040,PMP-041), South and North Recirculation Pumps (PMP-067, PMP-068), South and North Recirculation Pump Motors (MTR-042, MTR-081), Recirculation Pump 1 and 2 (PMP-037, PMP-038), Recirculation Pump 1 and 2 Motors (PMP-036, PMP-039), Secondary Digester (TNK-005), North and South Grinder Motor (MTR-043, MTR-082), North Grinder (GCP-405), North Sludge Pump (PMP-069), North Sludge Pump Motor (PMP-042). |  |
| Existing Asset Information | - BOIL-001: 2 HP ¦ 460 V ¦ 9 A ¦ 150 GPM ¦ 30 PSI - FAN-001: 1/3 HP ¦ 2100 CFM ¦ 1750 RPM - PMP-040/NEWRF-D-HE-RLHERP1A-P: 2 HP ¦ 460 V ¦ 9 A ¦ 150 GPM - PMP-041/NEWRF-D-HE-RLHERP2A-P:7.5 HP ¦ 1770 ROM ¦ 20.4 A ¦ 550 GPM - MTR-042/NEWRF-D-RP-RRP2A-M: 20 HP ¦ 1765 RPM ¦ 460 V ¦ 48 A - MTR-081/NEWRF-D-RP-RRP1A-M: 20 HP ¦ 1765 RPM ¦ 460 V ¦ 48 A - PMP-036/NEWRF-D-RP-RRP1A-M: 100 HP ¦ 460 V ¦ 4790 GPM - PMP-037/NEWRF-D-RP-RRP1A-P: 100 HP ¦ 1182 RPM ¦ 230 V ¦ 4790 GPM - PMP-038/NEWRF-D-RP-RRP2A-P: 100 HP ¦ 4790 GPM - TNK-005/NEWRF-D-SD: 65’ DIA - MTR-043: 20 HP ¦ 1765 RPM ¦ 460 V ¦ 48 a - MTR-082: 3 HP ¦ 1770 RPM ¦ 460 V ¦ 7.68 A - PMP-069: 20 HP ¦ 1750 RPM ¦ 460 V ¦ 24 A - PMP-042: 20 HP ¦ 350 GPM |  |
| Project Costs | Total Construction Costs | $4,625,200 |
|  | Scope Contingency Cost (60%) | $2,791,200 |
|  | Engineering Costs (20%) | $1,488,600 |
|  | Total Project Cost | $8,931,800 |
| Record Drawing References | - NEWRF ANAEROBIC DIGESTERS, 1985 - BIOSOLIDS TREATMENT PROJECT IMPLEMENTATION -DIGESTER REFURBISHMENT - NORTHEAST ADVANCED POLLUTION CONTROL FACILITY, 2004, 03-0022-UT |  |

G