WRF-CA-6: Generators and Fuel Storage R&R

| Project Duration | 2026 – 2030 (5 Years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: North Twin Electrical (ELEC-003) |  |
| Existing Asset Information | - ELEC-003/NEWRF-B-NT-E: 1800 RPM ¦ 480 V ¦ 1128 A |  |
| Project Costs | Total Construction Costs | $844,300 |
|  | Scope Contingency Cost (60%) | $506,600 |
|  | Engineering Costs (20%) | $270,200 |
|  | Total Project Cost | $1,621,100 |
| Record Drawing References | - N/A |  |

G