WRF-CA-9: Secondary Treatment Biological R&R

| Project Duration | 2026 – 2030 (5 Years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: Inlet Gate (GATE-030), Outlet Gate (GATE-031), Tanks 2, 3, and 4 East Slide Gates (GATE-039, GATE-040, GATE-041), Tanks 1, 2, 3, and 4 Structure (TNK-001, TNK-002, TNK-003, TNK-004), Fermentation Basin Mixers 1 and 2 (MIX-003, MIX-004), Fermentation Basin 2 Mixers 3 and 4 (MIX-001, MIX-002), Basin 2 Gates 1 and 2 (GATE-001, GATE-002), Basin 1 Gates 2 (EAST and WEST) (GATE-003, GATE-004), Basin 1 Gate 3 (GATE-005), First Anoxic Tank 1 Mixers 1 and 2 (MIX-005, MIX-006), First Anoxic Tank 2 Mixer 4 (MIX-007), West Side Inlet Gate (GATE-029) Gate to South Clarifiers (GATE-042), East Side Gate of Anoxic Basin 9 (GATE-043), Second Anoxic Basins 1-10 Mixers (MIX-016, MIX-017, MIX-018, MIX-019, MIX-020, MIX-021, MIX-022, MIX-023, MIX-024, MIX-025, MIX-026, MIX-027, MIX-028, MIX-029, MIX-030, MIX-031, MIX-032, MIX-033 MIX-034, MIX-035), Second Anoxic Basins 1-8 Gates (GATE-016, GATE-017, GATE-018, GATE-019, GATE-020, GATE-021, GATE-022, GATE-023, GATE-024, GATE-028), Switches (ELEC-001), Switch Gear (ELEC-033), Ox Ditch 1 and 2 Gates (GATE-014, GATE-015), Oxidation Ditch Aerators 1-4 (AER-001, AER-002, AER-003, AER-004), West Isolation Gate (GATE-011), Pumps 1-5 (PMP-001, PMP-002, PMP-003, PMP-004, PMP-005), Sub Pump Panel (ELEC-002), Sub Pumps 1-3 (PMP-006, PMP-007, PMP-008) |  |
| Existing Asset Information | - TNK-001/NEWRF-D-AD-T1: N/A - TNK-002/NEWRF-D-AD-T2: N/A - TNK-003/NEWRF-D-AD-T3: N/A - TNK-004/NEWRF-D-AD-T4: N/A - MIX-001: 2 HP ¦ 1750 RPM ¦ 230 V ¦ 5.22 A - MIX-002/NEWRF-BT-AF-FB3-FMA-M: N/A - MIX-003: 2 HP ¦ 1800 RPM ¦ 230 V ¦ 5.22 A - MIX-004/NEWRF-BT-AF-FB1-FMA-M: 2 HP ¦ 1750 RPM ¦ 230 V ¦ 5.22 A - MIX-005/NEWRF-BT-1SAB-1SAT1-M1A: 5 HP ¦ 1755 RPM ¦ 230 V ¦ 12.9 A - MIX-006/NEWRF-BT-1SAB-1SAT1-M2A: 5 HP ¦ 1755 RPM ¦ 230 V ¦ 12.9 A - MIX-007/NEWRF-BT-1SAB-1SAT2-M2A: 5 HP ¦ 1755 RPM ¦ 230 V ¦ 12.9 A - MIX-016/NEWRF-BT-2SAB-2SAT1-M2A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-017/NEWRF-BT-2SAB-2SAT1-M1A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-018/NEWRF-BT-2SAB-2SAT2-M1A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-019/NEWRF-BT-2SAB-2SAT2-M2A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.82 A - MIX-020/NEWRF-BT-2SAB-2SAT3-M2A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-021/NEWRF-BT-2SAB-2SAT3-M1A: 1 HP - MIX-022/NEWRF-BT-2SAB-2SAT4-M1A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-023/NEWRF-BT-2SAB-2SAT4-M2A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-024/NEWRF-BT-2SAB-2SAT5-M2A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.82 A - MIX-025/NEWRF-BT-2SAB-2SAT5-M1A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-026/NEWRF-BT-2SAB-2SAT6-M1A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-027/NEWRF-BT-2SAB-2SAT6-M2A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-028/NEWRF-BT-2SAB-2SAT7-M2A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-029/NEWRF-BT-2SAB-2SAT7-M1A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-030/NEWRF-BT-2SAB-2SAT8-M1A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-031/NEWRF-BT-2SAB-2SAT8-M2A: 1 HP ¦ 1760 RPM ¦ 208 V - MIX-032/NEWRF-BT-2SAB-2SAT9-M1A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-033/NEWRF-BT-2SAB-2SAT9-M2A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.78 A - MIX-034/NEWRF-BT-2SAB-2SAT10-M2A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.82 A - MIX-035/NEWRF-BT-2SAB-2SAT10-M1A: 1 HP ¦ 1760 RPM ¦ 230 V ¦ 2.82 A - ELEC-001: 180V ¦ 802 A - AER-001/NEWRF-BT-OA-COB-B1W-ICMAMA: 125 HP - AER-002/NEWRF-BT-OA-COB-B1W-OCMAMA: 125 HP - AER-003/NEWRF-BT-OA-COB-B2E--ICMAMA-GB: 125 HP ¦ 1190 RPM ¦ 460 V ¦ 118 A - AER-004/NEWRF-BT-OA-COB-B2E-OCMAMA: 125 HP - PMP-001/NEWRF-BT-P-SP5A-P: 125 HP ¦ 22,150 GPM - PMP-002/NEWRF-BT-P-SP4A-P: 125 HP ¦ 1587 RPM ¦ 460 V ¦ 22,150 GPM - PMP-003/NEWRF-BT-P-SP3A-P: 125 HP ¦ 22,150 GPM - PMP-004/NEWRF-BT-P-SP2A-P: 125 HP ¦ 22,150 GPM - PMP-005/NEWRF-BT-P-SP1A-P: 125 HP ¦ 22,150 GPM - ELEC-002: 120 HP - PMP-006/NEWRF-BT-P-IPS-SP1-P: 135 HP ¦ 1030 GPM - PMP-007/NEWRF-BT-P-IPS-SP2-P: 135 HP ¦ 1030 GPM - PMP-008/NEWRF-BT-P-IPS-SP3-P: 135 HP ¦ 1030 GPM |  |
| Project Costs | Total Construction Costs | $10,334,100 |
|  | Scope Contingency Cost (60%) | $6,200,500 |
|  | Engineering Costs (20%) | $3,306,900 |
|  | Total Project Cost | $19,841,500 |
| Record Drawing References | - NORTHEAST ADVANCED POLLUTION CONTROL FACILITY CLEARWATER, FLORIDA, 1992, 92016 - NORTHEAST WATER RECLAMATION FACILITY SCREW LIFT STATION UPGRADES, 2015, 12-0017-UT - RECYCLE SYSTEM IMPROVEMENTS, 2004, 05-0023-UT - NORTHEAST WRF MIXER REPLACEMENT, 2012, FIM07 |  |