WRF-CA-14: Secondary Treatment Clarifiers R&R

| Project Duration | 2031 – 2035 (5 Years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: North and South Pump House (PIPE-003, PIPE-004), RAS South (MTR-023, PMP-018, MTR-024, PMP-019), WAS North (PMP-012, PMP-013, MTR-015, MTR-016) |  |
| Existing Asset Information | - MTR-023/NEWRF-ST-RWPS-SPH-RASP1A-M: 50 HP ¦ 1185 RPM ¦ 460 V ¦ 120 A - PMP-018/NEWRF-ST-RWPS-SPH-RASP1A-P: 50 HP ¦ 1190 RPM ¦ 4700 GPM ¦ 12 x 12 x 15 - MTR-024/NEWRF-ST-RWPS-SPH-RASP2A-M: 50 HP ¦ 1185 RPM ¦ 460 V ¦ 120 A - PMP-019/NEWRF-ST-RWPS-SPH-RASP2A-P: 50 HP ¦ 1190 RPM ¦ 4700 GPM ¦ 12 x 12 x 15 ¦ 60 PSI - PMP-012/NEWRF-ST-RWPS-NPH-WASP1A-P: 10 HP ¦ 1700 RPM ¦ 230 V ¦ 20 A ¦ 200 GPM - PMP-013/NEWRF-ST-RWPS-NPH-WASP2A-P: 10 HP ¦ 1760 RPM ¦ 230 V ¦ 25 A ¦ 200 GPM - MTR-015/NEWRF-ST-RWPS-NPH-WASP2A-M: 10 HP ¦ 1760 RPM ¦ 460 V ¦ 25 A - MTR-016/NEWRF-ST-RWPS-NPH-WASP1A-M: 10 HP ¦ 1700 RPM ¦ 460 V ¦ 25 A |  |
| Project Costs | Total Construction Costs | $410,800 |
|  | Scope Contingency Cost (60%) | $246,500 |
|  | Engineering Costs (20%) | $131,500 |
|  | Easements, Land Acquisition and Other Costs | $300 |
|  | Total Project Cost | $789,100 |
| Record Drawing References | - NORTHEAST WRF IMPROVEMENTS PROJECT, 2022, 19-0029-UT - CLEARWATER CLARIFIER REHABILITATION, 2010, 12-0025-UT |  |

G