WRF-CA-16: Dewatering and Solids Handling R&R

| Project Duration | 2031 – 2035 (5 Years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: Centrifuge Panels (ELEC-031), Pump 1 and 2 (PMP-027, PMP-028), Electrical Panels (ELEC-010) |  |
| Existing Asset Information | - ELEC-010: N/A - ELEC-031/NEWRF-DW-C-CP: N/A - PMP-027: 7.5 HP ¦ 50 GPM - PMP-028: 7.5 HP ¦ 50 GPM |  |
| Project Costs | Total Construction Costs | $134,400 |
|  | Scope Contingency Cost (60%) | $80,600 |
|  | Engineering Costs (20%) | $43,000 |
|  | Total Project Cost | $258,000 |
| Record Drawing References | - NEWRF DEWATERING CENTRIFUGE, 2014, FIM03 |  |