WRF-CA-21: Blower Building R&R

| Project Duration | 2036 – 2040 (5 years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: Blower Building MCC (MCC-12) |  |
| Existing Asset Information | - MCC-12: 150 HP ¦ 3560 RPM ¦ 460 V ¦ 164 A ¦ 724 lb. |  |
| Project Costs | Total Construction Costs | $105,800 |
|  | Scope Contingency Cost (60%) | $63,500 |
|  | Engineering Costs (20%) | $33,900 |
|  | Total Project Cost | $203,200 |
| Record Drawing References | - NORTHEAST ADVANCED POLLUTION CONTROL FACILITY CLEARWATER, FLORIDA, 1992, 92016 |  |

G