WRF-CA-22: Secondary Treatment Biological R&R

| Project Duration | 2036 – 2040 (4 Years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: Fermentation Basins (BSN-002, BSN-001), First Anoxic Tanks (BSN-004, BSN-003), Second Anoxic Tanks (BSN-007, BSN-016, BSN-008, BSN-009, BSN-010, BSN-011, BSN-012, BSN-013, BSN-014, BSN-015), Oxidation Ditch (BSN-006, BSN-005), Screw Pump (GATE-006, GATE-007, GATE-008, GATE-009, STRC-001), East Isolation Gate (GATE-012) |  |
| Existing Asset Information | - BSN-002/NEWRF-BT-AF-FB1: 105’ x 50’ x 14’ - BSN-001/NEWRF-BT-AF-FB1: 105’ x 50’ x 14’ - BSN-004/NEWRF-BT-1SAB-1SAT1: 115.3’ x 73’ x 14’ - BSN-003/NEWRF-BT-1SAB-1SAT2: 115.3’ x 73’ x 14’ - BSN-007/NEWRF-BT-2SAB-2SAT1: 25’ x 68’ x 15’ SWD ¦ 190,740 gal - BSN-016/NEWRF-BT-2SAB-2SAT10: 25’ x 68’ x 15’ SWD ¦ 190,740 gal - BSN-008/NEWRF-BT-2SAB-2SAT2: 25’ x 68’ x 15’ SWD ¦ 190,740 gal - BSN-009/NEWRF-BT-2SAB-2SAT3: 25’ x 68’ x 15’ SWD ¦ 190,740 gal - BSN-010/NEWRF-BT-2SAB-2SAT4: 25’ x 68’ x 15’ SWD ¦ 190,740 gal - BSN-011/NEWRF-BT-2SAB-2SAT5: 25’ x 68’ x 15’ SWD ¦ 190,740 gal - BSN-012/NEWRF-BT-2SAB-2SAT6: 25’ x 68’ x 15’ SWD ¦ 190,740 gal - BSN-013/NEWRF-BT-2SAB-2SAT7: 25’ x 68’ x 15’ SWD ¦ 190,740 gal - BSN-014/NEWRF-BT-2SAB-2SAT8: 25’ x 68’ x 15’ SWD ¦ 190,740 gal - BSN-015/NEWRF-BT-2SAB-2SAT9: 25’ x 68’ x 15’ SWD ¦ 190,740 gal - BSN-006/NEWRF-BT-OA-COB-B1W: 1.288 MG - BSN-005/NEWRF-BT-OA-COB-B1W: 1.288 MG - STRC-001: N/A |  |
| Project Costs | Total Construction Costs | $9,799,300 |
|  | Scope Contingency Cost (60%) | $5,879,600 |
|  | Engineering Costs (20%) | $3,135,800 |
|  | Total Project Cost | $18,814,700 |
| Record Drawing References | - NORTHEAST ADVANCED POLLUTION CONTROL FACILITY CLEARWATER, FLORIDA, 1992, 92016 - NORTHEAST WATER RECLAMATION FACILITY SCREW LIFT STATION UPGRADES, 2015, 12-0017-UT - NORTHEAST WRF MIXER REPLACEMENT, 2012, FIM07 |  |

G