WRF-CA-23: Secondary Treatment Clarifiers R&R

| Project Duration | 2036 – 2040 (5 Years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: North Clarifiers (CLRF-001, CLRF-003, CLRF-004), South Clarifiers (CLRF-005, CLRF-006, CLRF-007, CLRF-008), RAS North Pump House (STRC-003) civil work and building rehabilitation |  |
| Existing Asset Information | - CLRF-001/NEWRF-ST-C-N-C1: 75-FT diameter ¦ 336 LF weir ¦ 4418 SF surface area - CLRF-003/NEWRF-ST-C-N-C3: 75-FT diameter ¦ 336 LF weir ¦ 4418 SF surface area - CLRF-004/NEWRF-ST-C-N-C4: 75-FT diameter ¦ 336 LF weir ¦ 4418 SF surface area - CLRF-005/NEWRF-ST-C-S-C5: 75-FT diameter ¦ 336 LF weir ¦ 4418 SF surface area - CLRF-006/NEWRF-ST-C-S-C6: 75-FT diameter ¦ 336 LF weir ¦ 4418 SF surface area - CLRF-007/NEWRF-ST-C-S-C7: 75-FT diameter ¦ 336 LF weir ¦ 4418 SF surface area - CLRF-008/NEWRF-ST-C-S-C8: 75-FT diameter ¦ 336 LF weir ¦ 4418 SF surface area - STRC-003: N/A |  |
| Project Costs | Total Construction Costs | $2,813,000 |
|  | Scope Contingency Cost (60%) | $1,687,800 |
|  | Engineering Costs (20%) | $900,200 |
|  | Total Project Cost | $5,401,400 |
| Record Drawing References | - NORTHEAST WRF IMPROVEMENTS PROJECT, 2022, 19-0029-UT - CLEARWATER CLARIFIER REHABILITATION, 2010, 12-0025-UT |  |

G