WRF-CA-24: Dewatering/Solids Handling R&R

| Project Duration | 2036 – 2040 (5 Years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: Thickening Building – Civil – Structural Components (STRC-021) |  |
| Existing Asset Information | - STRC-021/NEWRF-B-TB-SA: N/A |  |
| Project Costs | Total Construction Costs | $705,000 |
|  | Scope Contingency Cost (60%) | $423,000 |
|  | Engineering Costs (20%) | $225,600 |
|  | Total Project Cost | $1,353,600 |
| Record Drawing References | - HEADWORKS SCREENING AND GRIT REMOVAL IMPROVEMENTS FOR THE NORTHEAST, MARSHALL ST, AND EAST ADVANCED POLLUTION CONTROL FACILITIES, 2010, 05-0063-UT - NORTHEAST WRF IMPROVEMENTS PROJECT, 2022, 19-0029-UT - NORTHEAST WASTEWATER TREATMENT FACILITY, 1975 |  |

G