WRF-CA-28: Disinfection R&R

| Project Duration | 2036 – 2040 (5 Years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: Chlorine Contact Chamber (BSN-018) |  |
| Existing Asset Information | - BSN-018/NEWRF-E-CCC1: N/A |  |
| Project Costs | Total Construction Costs | $351,200 |
|  | Scope Contingency Cost (60%) | $210,700 |
|  | Engineering Costs (20%) | $112,400 |
|  | Total Project Cost | $674,300 |
| Record Drawing References | - NORTHEAST ADVANCED POLLUTION CONTROL FACILITY IMPROVEMENTS, 2003 |  |

G