WRF-CA-29: Dewatering/Solids Handling R&R

| Project Duration | 2041 – 2045 (5 Years) |  |
| --- | --- | --- |
| Project Description | Replace the following assets as part of planned removal and replacement (R&R) due to asset end of useful life: Pumps (PMP-081, PMP-082), Sludge Blending Tank Mixer (MIX-037). |  |
| Existing Asset Information | - PMP-081: 15 HP ¦ 50 GPM - PMP-082: 15 HP ¦ 50 GPM - MIX-037/NEWRF-SB-SBT2-MA: 20 HP |  |
| Project Costs | Total Construction Costs | $884,100 |
|  | Scope Contingency Cost (60%) | $530,500 |
|  | Engineering Costs (20%) | $282,900 |
|  | Total Project Cost | $1,697,500 |
| Record Drawing References | - NORTHEAST WRF IMPROVEMENTS PROJECT, 2022, 19-0029-UT - NEWRF SLUDGE THICKENING, 1999 |  |

G